Superior Warw-ffsaeng Sen-,.-*

Material Safety Data Sheet

Anderson Chemical Company, Inc.

P.O. Box 4507	WACOM, GA   31208

Ph : (478) 803-6100	Fax : (478) 803-6170

CHEMTREC:	(800) 424-9300

DATE PREPARED: REVISION DATE: ISSUE DATE: PRODUCT NUMBER:

5/15/1990

6/8/2001

7/1/2004

1630

PRODUCT NAME: CHEMICAL NAME:

CHEMICAL FAMILY FORMULA:

SECTION I - IDENTIFICATION

ANCOTREAT1630

Aqueous Solution:  Sodium Polyphosphate; Sodium Sulfite, Morpholine; Synthetic

Polymer, Sodium Hydroxide and Polyalkylene Glycol

Scale and Corrosion Inhibitor

Proprietary Formulation

SECTION II - HAZARDOUS INGREDIENTS

CAS NUMBER     HAZARD DATA :

MATERIAL:

| Sodium Hydroxide | 1310732 | TLV-LD50 | : 2 mg/m3 (ceiling limit) = 240 mg/kg (rat) |
| --- | --- | --- | --- |

This product contains no known or suspected carcinogens.

pH:

SECTION III - PHYSICAL DATA
13.0 - 14.0	VAPOR PRESSURE:

1.13-1.16	APPEARANCE:

SPECIFIC GRAVITY:

BOILING POINT:	212°F

SOLUBILITY IN WATER:       Complete EVAPORATION RATE L_=1): VOLATILITY INCLUDING WATER :         NE MELTING POINT

VAPOR DENSITY(AIR=1): ODOR:

Like Water

Like Water

Colorless to pale yellow

liquid

Like Water

Slight Aromatic

SECTION IV - FIRE AND EXPLOSION DATA FLASH POINT : NONE

FLAMMABLE LIMITS AIR (% by Volume) : NA AUTOIGNITION TEMPERATURE : Non-Flammable EXTINGUISHING MEDIA : NA

FIRE FIGHTING PROCEDURES:  Material will not bum. Thermal decomposition may yield oxides of sulfur (SOX), nitrogen (NOX) and carbon. Firefighters should wear full protective clothing and use self contained breathing apparatus. UNUSUAL FIRE AND EXPLOSION HAZARDS : Thermal decomposition may yield oxides of sulfur (SOX), nitrogen (NOX) and carbon.

SECTION V - REACTIVITY DATA STABILITY : Stable CONDITIONS TO AVOID : NA HAZARDOUS POLYMERIZATION : Does Not Occur INCOMPATIBILITY : No chemical incompatibilities.

HAZARDOUS DECOMPOSITION PRODUCTS : Thermal decomposition may yield oxides of sulfur (SOX), Nitrogen (NOX) and carbon.

THRESHOLD LIMIT VALUE

SECTION VI - HEALTH DATA

No TLV established

Page 1 of 2

Material Safety Data Sheet

MEDICAL CONDITION AGGRAVATED :

INHALATION :  Inhalation may cause severe irritation to the mucous membranes. INGESTION :  Ingestion may cause severe irritation to the mucous membranes and stomach. EYE CONTACT : Contact with eyes may cause severe irritation. SKIN CONTACT :  Contact with skin may cause severe irritation.

SECTION VII FIRST AID INHALATION:  Remove subject to fresh air.

INGESTION:  Drink a large amount of water.  If discomfort persists, seek medical attention.

EYE CONTACT:  Immediately flush eyes with a large amount of water for at least 15 minutes. Washing eyes within one minute is essential to achieve maximum effectiveness. Seek medical attention immediately. SKIN CONTACT: Flush contacted area with water.

SECTION VIII EMPLOYEE PROTECTION

VENTILATION REQUIREMENTS : Mechanical (General) -Acceptable RESPIRATORY PROTECTION : Not required under normal handling conditions.

PROTECTIVE CLOTHING : When handling, wear full protective clothing including goggles with face shield, rubber gloves, impermeable boots and apron.   An emergency eye wash and shower should be accessible in work area.

SECTION IX - SPILL AND DISPOSAL DATA

SPILL: Confine spill.  Neutralize with dilute acid, then dilute with water and flush to waste with excess water. WASTE DISPOSAL : Dispose of in accordance with local, state, and federal regulations for liquid and solid wastes.

SECTION X - TRANSPORTATION DATA

PROPER SHIPPING NAME : SODIUM HYDROXIDE SOLUTION, UN 1824 HAZARD LABEL : CORROSIVE PACKING GROUP : II

SECTION XI - OTHER REGULATORY INFORMATION HMIS HEALTH : 2 HMIS FLAMMABILITY : 0 HMIS REACTIVITY: 0 HMIS PERSONAL PROTECTION : X

SECTION XII - ADDITIONAL PRECAUTIONARY INFORMATION

Do not transfer to aluminum or galvanized containers.	Protect containers from extreme temperature conditions.

When in storage, be sure this label is clearly visible.         Do not get in eyes, on skin or on clothing.	Keep out of

reach of children.        Handle with care. Avoid eye and skin contact.

MSDS 1630 PREPARED BY : Kiran B. Jain Ph.D

Page 2 of 2